	Laboratory Biosafety Level 2  Inspection Report


	                                                     IBC#_________

STATE UNIVERSITY OF NEW YORK

College at Geneseo

Institutional Biosafety Committee

	Lab PI/Contact Person: 


	Inspection Date: 
	Inspected By: 



	Lab Location (Bldg/Rm #) 


	Dept: 
	Phone #: 

	Inspection Type:      ( ) Initial       ( ) Periodic         Comment: 



	List of Agents That Will Be Used/Stored: 

( ) Recombinant DNA :                                               ( ) Parasitic: 

( ) Bacterial:                                                                ( ) Toxin: 

( ) Viral:                                                                       ( ) Prion: 

( ) Fungal:                                                                   ( ) Human: 

	Biosafety Level 2 (BSL-2) is suitable for work involving agents that pose moderate hazards to personnel and the environment. It differs from BSL-1 in that 1) laboratory personnel have specific training in handling pathogenic agents and are supervised by scientists competent in handling infectious agents and associated procedures; 2) access to the laboratory is restricted when work is being conducted; and 3) all procedures in which infectious aerosols or splashes may be created are conducted in biological safety cabinets (BSCs) or other physical containment equipment. BSL-2 is appropriate when work is done with any human-derived blood, body fluids, tissues, or primary human cell lines where the presence of an infectious agent may be unknown. If work with any human-derived blood or other potentially infectious human material is to be conducted, personnel are required to take the OSHA  Bloodborne Pathogen training facilitated by the Office of Environmental Health and Safety and have the opportunity to take the Hepatitis B vaccination series. 


	BSL 
	AGENTS 
	PRACTICES 
	SAFETY EQUIPMENT 
	FACILITIES 

	2 
	Associated with human disease. Hazard: percutaneous injury, ingestion, mucous membrane exposure 
	BSL-1 practices plus: Limited access Biohazard warning signs Sharps precautions Biosafety manual defining waste decontamination and medical surveillance policies 
	Primary Barriers: Class I or II BSCs or other physical containment devices used for all manipulations of agents that cause splashes or aerosols of infectious organisms Personal Protective Equipment (PPE): lab coats, gloves, face protection as needed 
	BSL-1 plus: Autoclave available 


	A. STANDARD MICROBIOLOGICAL PRACTICES FOR BSL-2
	YES
	NO
	N/A
	COMMENTS

	1. Is access to the laboratory limited or restricted at the 

   discretion of the PI when experiments are in progress?


	
	
	
	

	2. Are hand washing facilities available and do 

    personnel wash hands after working with potentially 

    hazardous material and before leaving the laboratory?


	
	
	
	

	3. Are eating, drinking, smoking, applying cosmetics and

    food storage forbidden in laboratory areas and are 

    signs posted to that effect on all refrigerators?  


	
	
	
	

	4. Are mechanical pipetting devices used and mouth 

    pipetting prohibited?


	
	
	
	

	5. Are policies and equipment in place for working with 

    sharps (needles, scalpels, pipettes, broken 

    glassware)?

a. Is there a sharps container present and less than ¾ 

    full?

b. Is there a box for broken glass present that is less than 80% full?  Does the box have only glass in it? 


	
	
	
	

	6. Is care taken to minimize the creation of splashes and 

   aerosols?


	
	
	
	

	7. Are work surfaces decontaminated with an 

    appropriate disinfectant after completion of work and

    after any spill of potentially infectious material?


	
	
	
	

	8. Are all cultures, stocks, and other potentially 

    infectious material decontaminated (such as 

    autoclaving) before disposal?


	
	
	
	

	9. Is appropriate signage posted at the entrance to the 

    laboratory to include the universal biohazard symbol? 

   Note:  Posted information must include the following: 

   the lab’s biosafety level, the responsible person’s 

  name,telephone number, agent information, and 

 required procedures for entry/exit.


	
	
	
	

	10. Is an effective pest management program in place?


	
	
	
	

	11. Has the PI provided appropriate training in regards to  

      job duties, necessary precautions to prevent   

     exposures, and exposure evaluation procedures?


	
	
	
	


	B. Special Practices for BSL-2

    
	YES
	NO
	N/A
	COMMENTS

	1. Have all personnel entering the lab been advised of the potential hazards and met specific entry/exit requirements (e.g. immunizations)?
	
	
	
	

	2. Have personnel been provided medical surveillance and offered appropriate immunizations for agents that may be present?


	
	
	
	

	3. Is there a policy/procedure in place describing the collection and storage of serum samples from at-risk personnel? 


	
	
	
	

	4. Is there a laboratory-specific biosafety manual that includes standard operating procedures for biosafety and is it accessible to lab personnel?


	
	
	
	

	5. Has the PI ensured that all personnel demonstrate proficiency in standard and special microbiological practices before working with BSL-2 agents?


	
	
	
	

	6. Are there durable, leak proof containers available for collection, handling, processing, storage or transport of infectious materials within the facility?


	
	
	
	

	7. Are there procedures in place for the routine 

    decontamination of equipment after spills and in 

    preparation for servicing? 

a. Is there a supply of agent appropriate  

   decontamination solution ready for use?  

b. Is there a container of disinfectant in the BSC?

c. Are there procedures to decontaminate shared or     

     dual-use equipment?


	
	
	
	

	8. Are incidents that result in exposure to infectious materials immediately evaluated and treated according to procedures described in the lab biosafety manual? 


	
	
	
	

	9. Are animals and plants not involved in research 

    prohibited from the lab?


	
	
	
	

	10.  Are all procedures that may produce aerosolization* of infectious materials conducted in a BSC or other physical containment device?


	
	
	
	


*aerosolization can occur from: pipetting, centrifuging, grinding, blending, shaking, mixing, sonicating, opening containers of infectious materials, inoculating animals intranasally, and harvesting infected tissues from animals or eggs. 

	C. SAFETY EQUIPMENT

(PRIMARY BARRIERS AND PPE)
	YES
	NO
	N/A
	COMMENTS

	1. Are BSCs, other physical containment equipment or 

    PPE used when:

a. Procedures with a potential for creating infectious aerosols are used? 

b. High concentrations or large volumes of infectious agents are used?


	
	
	
	

	2. Are lab coats, gowns or smocks worn while working 

    with hazardous materials?

a.  Are they removed before entering non-laboratory 

     areas?

b.  Is there a procedure for disposal of protective 

     clothing?


	
	
	
	

	3. Are eye and face protection (goggles, mask, face 

    shield) used for when manipulations of infectious 

    material are performed outside of a BCS or other 

    containment device?


	
	
	
	

	4. Are gloves worn and special care taken to avoid skin 

    contamination when working with infectious materials

    or animals?


	
	
	
	

	5. Are BSCs maintained properly and certified annually?


	
	
	
	

	6. Are eye, face and respiratory protection used in 

    rooms containing infected animals as determined by a

    risk assessment? 


	
	
	
	

	7. Do centrifuges have sealed rotors and/or safety cups

    which are only opened inside a BSC? 


	
	
	
	


	D. LABORATORY FACILITIES (SECONDARY BARRIERS)
	YES
	NO
	N/A
	COMMENTS

	1. Are all laboratory doors self-closing and have locks?   

                                                             
	
	
	
	

	2. Does the lab have a sink available for hand washing preferably near the exit door? 


	
	
	
	

	3. Is the laboratory designed for easy cleaning and

decontamination? 


	
	
	
	

	4. Is laboratory furniture capable of supporting loads   

      and uses? 


	
	
	
	

	5. Are bench tops made of material impervious to  

    water and resistant to heat, organic solvents, acids, 

    alkalis and other chemicals? 


	
	
	
	

	6. If the lab has windows that open, are they fitted with  

    fly screens? 


	
	
	
	

	7. Are BSCs located away from doors, windows that

    can be opened, heavily traveled areas and other 

    possible airflow disruptions? 


	
	
	
	

	8. Are vacuum lines protected with HEPA filters or 

    their equivalent? Note: A liquid disinfectant trap 

    may be required. 


	
	
	
	

	9. Is an eyewash station readily available?


	
	
	
	

	10. Are lab chairs covered with a nonporous (no fabric)   

    material that can be easily decontaminated? 


	
	
	
	

	11. Is there a method available for decontaminating 

wastes ( e.g. autoclave, chemical disinfection, incineration or other validated decontamination method)


	
	
	
	


	
	INSPECTION FINDINGS 
	

	Checklist Number 
	Deficiencies 
	Corrective Action 
	Status 

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	IBC Disposition: □ Not approved       □ Approved        □Provisionally approved                               for BSL-2 work 

	Comments: 

	IBC Chair Signature: Date: 
	Signature of second inspector: Date: 


NOTES:

A. Laboratory Biosafety Manual

If the PI chooses to adapt the CDC’s Biosafety in Microbiological and Biomedical Laboratories (BMBL) as his/her biosafety manual, it can be found at this URL: http://www.cdc.gov/od/ohs/biosfty/bmbl5/bmbl5toc.htm

The components (all of which can be found in the BMBL) of an acceptable biosafety manual include the following:

1. Biosafety Level Descriptions

a. Standard Practices and Principles

b. Special Practices and Procedures

c. Containment Devices

d. Facility Design

2. Animal Safety Practices (if applicable)

3. Agent Summary Statements

4. Equipment Descriptions

5. Specimen Handling

6. Security

7. Waste

8. Special Laboratory Practices

a. Tissue culture

b. Toxins
B. Other helpful references

1. NIH Guidelines for Research Involving Recombinant DNA Molecules

http://www4.od.nih.gov/oba/ibc/ibcindexpg.htm

2. Bloodborne Pathogen regulation

http://www.osha.gov/pls/oshaweb/owadisp.show_document?p_table=STANDAR

DS&p_id=10051&p_text_version=FALSE

3. An excellent Powerpoint presentation by the CDC on biosafety

http://www.cdc.gov/od/ohs/pdffiles/Module%202%20-%20Biosafety.pdf
Note: these guidelines have been adapted form those of the SUNY Upstate Medical University

PAGE  
1
Adopted 1/14/10


