## Slide 1: Timing Uncertainty Analysis Update
SUNY Geneseo
Physics Department
Geneseo, NY
March 2017

## Slide 2: 3-10-17_Cs137_HPGe and Scint

## Slide 3: Set Up

## Slide 4: Scope Signals

## Slide 5: Scope Traces

## Slide 6: Getting Average Parameters
EMG has five parameters
1. Amplitude (Allow to Vary)
2. Centroid of Gaussian (Allow to Vary)
3. Decay of exponential (Obtain through average)
4. Sigma of Gaussian (Obtain through average)
5. Background offset (Allow to Vary)

## Slide 7: Ch1 Scintillator

## Slide 8: Sigma and Tau
Sigma
Tau
Fit a total of 500 waveforms

## Slide 9: Ch2 HPGe

## Slide 10: Sigma and Tau
Sigma
Tau
Fit a total of 166 waveforms

## Slide 11: Histogram of Time Difference
Fit a total of 166 waveforms

## Slide 12: Histogram of Time Difference- v2
Fit a total of 130 waveforms